{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Discover","Read_Temp","Configuration"],"not_rendered":{"charts":1,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Discover","index":0,"n_rows":57,"n_cols":14,"rows_kept":57,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,null,null,"Network adapter :"]
[null,null,null,null,"Name","IP address","subnet mask","broadcast IP"]
[null,null,null,null,"Intel(R) Ethernet Connection (7) I219-LM #2","192.168.49.91","255.255.255.0","192.168.49.255"]
[null,null,null,null,"ASIX AX88179 USB 3.0 to Gigabit Ethernet Adapter #4","192.168.5.2","255.255.255.0","192.168.5.255"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,"TCP/IP devices :"]
[null,null,null,null,"IP address","MAC address","Ipmode","static IP","subnet mask","Port config","Port command","Port Modbus","Connected","Connect IP"]
[null,null,null,null,"192.168.5.1","9C:43:1E:7F:FF:FF",1,"192.168.0.1","255.255.255.0",55001,55002,502,0,"0.0.0.0"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[5,29,30.9]

{"sheet":"Read_Temp","index":1,"n_rows":1009,"n_cols":26,"rows_kept":1009,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Spalte1"]
[null,"IP-Adresse","192.168.5.1",0,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E20 <> \"\",Discover!E20,\"\")","v":"192.168.5.1"}]
[null,"Port",55002,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E21 <> \"\",Discover!E21,\"\")","v":""}]
[null,"Number \nof values",100,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E22 <> \"\",Discover!E22,\"\")","v":""}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E23 <> \"\",Discover!E23,\"\")","v":""}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E24 <> \"\",Discover!E24,\"\")","v":""}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E25 <> \"\",Discover!E25,\"\")","v":""}]
[null,"Socket ID",8368,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E26 <> \"\",Discover!E26,\"\")","v":""}]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E27 <> \"\",Discover!E27,\"\")","v":""}]
[null,null,2999.8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E28 <> \"\",Discover!E28,\"\")","v":""}]
[null,null,2999.8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E29 <> \"\",Discover!E29,\"\")","v":""}]
[null,null,2999.8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E30 <> \"\",Discover!E30,\"\")","v":""}]
[null,null,2999.8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E31 <> \"\",Discover!E31,\"\")","v":""}]
[null,null,2999.8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E32 <> \"\",Discover!E32,\"\")","v":""}]
[null,null,2999.8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(Discover!E33 <> \"\",Discover!E33,\"\")","v":""}]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,2999.8]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1332.6]
[null,null,1337.1]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1337.1]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1332.6]
[null,null,1334.9]
[null,null,1334.9]
[null,null,1334.9]

{"sheet":"Configuration","index":2,"n_rows":87,"n_cols":10,"rows_kept":87,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,"MAC address","9C:43:1E:7F:FF:FF"]
[null,"IP-Adresse","192.168.5.1",null,null,"IP-mode","DHCP",null,"STATIC","DHCP"]
[null,"Port",55001,null,null,"static IP address","192.168.0.1"]
[null,null,null,null,null,"netmask","255.255.255.0"]
[null,null,null,null,null,"port command",55002]
[null,null,null,null,null,"port Modbus",502]
[null,null,null,null,null,"port config",55001]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[4,178,20.2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[0,0,-100]